## PSR PSALM Edit (2)
MINDANAO GENERATION
(PSALM PORTFOLIO)
FOR : | MR. LARRY I. SABELLIRA |  |  |  |  | MR. DENNIS EDWARD A. DELA SERNA | MR. ARNOLD C. FRANCISCO
| VP, Mindanao Generation |  |  |  |  | President and CEO, PSALM | VP - PAIMG, PSALM
PLANT STATUS REPORT
as of 0800H Thursday, 12 March 2026
PLANT NAME | Rated Capacity (MW) | Available Capacity (MW) | Lake Lanao Projected Ave. Outflow | Load at 0800H | REMARKS |  |  | GATE#1 | GATE#2 | GATE#3 | GATE#4 | GATE#5 | GATE#6 | ELEVATION | REMARKS
[8 empty] | GATE#1: 0.100; GATE#2: 0.100 | 701.190
[8 empty] | GATE#1: 0.000; GATE#2: 0.000 | 637.800
[8 empty] | GATE#1: 0.500; GATE#2: 0.000 | 358.800
AGUS 1 | 80 | 70 | 136 CMS @ 60 HW | 60 | Lake Lanao Elevation is 701.19 m.a.s.l. (G1- 0.10 m, G2- 0.10 m) |  |  | GATE#1: 0.550; GATE#2: 0.000; GATE#3: 0.100 | 243.300
unit 1 | 40 | 35 |  | 30 | OPERATIONAL. Maximized with respect to ave. outflow. |  |  | 0.200 | 0.200 | 0.200 | 0.000 |  |  | 199.800
unit 2 | 40 | 35 |  | 30 | OPERATIONAL. Maximized with respect to ave. outflow. |  |  | GATE#1: 0.000; GATE#2: 0.000; GATE#3: 0.000 | 34.100
TOTAL AGUS | 746.1 | 586.3 | 547 MW | 499.88 |  |  |  | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 0.000 | 285.450
TOTAL HYDRO | 1001.1 | 811.3 | 647 MW | 635.49
Agus-Pulangi Forecasted Load @ 6pm, Jan 02, 2026: Agus = 500.8 MW & Pulangui IV = 150 MW, Total Load: 650.8 MW
MCFPP (STEAG), unit 1 | 116 | 105 | 105 | 61.5 | Normal Operation
MCFPP (STEAG), unit 2 | 116 | 105 | 105 | 62.6 | Normal Operation
TOTAL IPP | 232 | 210 | 210 | 124.1
TOTAL NPC-PSALM | 1,233.10 | 1,021.3 | 857.00 | 759.59
Note:
Dependable Capacity (DC) is the maximum capacity, modified for ambient limitations for a specific period of time, such as month or a season.
Available Capacity (AC) is the dependable capacity, modified for equipment limitations for any time.
The usual occurrence of Peak is at 1800H.
AGUS 5 HEP gate no. 2 dogged at 0.10m for Newtech Pulp Inc. (NPI) plant water use.
AGUS 6 HEP unit 5 is derated at 46 MW due generator turbine control system problem.
AGUS 6 HEP unit 3 is derated at 40 MW due to take-off transformer cooling problem.
AUTHORIZATION
Prepared by: |  |  | Checked and Reviewed by: |  |  | Checked and Reviewed by: | Approved by:
O.M. LAVA |  |  | JMM MATA |  |  | EL ADIONG | C.C. AMIGABLE JR.
Prin. Engr., AGUS-PULANGI HEPs |  |  | Asst. Manager, AGUS-PULANGI HEPs |  |  | Manager, AGUS-PULANGI HEPs | Asst. VP, Mindanao Generation
Noted by: | [5 empty] | Noted by:
D.B. ESMADE JR. | [5 empty] | D.R.B. CAIRO
VP, Mindanao Generation | [5 empty] | SVP, Generation